Factory Inspection checklist (Occupational Safety) – Inspectors (engineering)

Factory Act 1965 and Factory Rules 1979

- Factory Plan (Rule 8)

  - Has the Factory building plan approved?

  - Does the layout of the building and machines reflect the plans?

  - Has the factory been registered?

- Precautions in case of fire (Rule 22):

  - Are there stairs and exits from the factory available from every room?

    - Can doors be opened from outside?

  - Are there fire extinguishers?

  - Are fire extinguishers regularly checked and re-filled?

  - Have at least 25% of workers, engaged in the use of fire extinguishers, been given essential training?

- Fencing of machinery (Rule 23)

  - Are all machines fences according to this rule?

- Work on or near machinery in motion (Rule 24)

  - Do all workers wear tight clothes when they work?

  - Are the names of workers, who have received special training, registered in form no. 8

- Automatic machine (Rule 25)

  - Is there enough distance between each machine?

- Power System (Rule 26)

- Is there suitable system for cutting off power?

- Are there standard power conductor and connection systems?

- Is the power system checked regularly?

- Cotton opener machine (Rule 29)

- Are women and children employed in this work?

- Cranes and other lifting machinery (Rule 30)

- Is the machine checked completely at least once a year?

- Is there a certificate from the person who has checked this machine?

- Hoist and Lifts (Rule 31)

- Are these hoists and lifts checked regularly?

- Is the result of checking recorded in form no. 9

- Pressure plant (Rule 33)

- Are available safety valve, pressure gage, stop valve, drain bark etc.?

- Is these checked by appropriate persons and recorded the result in form no. 10

- Floors, stairs and means of access

- Are all floors, stairs, passages and gangways properly maintained?

- Is their proper fencing?

- Are there appropriate safety railings on stairs and platforms?

- Excessive weights (Rule 36)

- Are workers carrying excessive weights?

- Protection of eyes

- Are eye-shields/safety goggles used by workers?

- Defective factory building or parts of machine (Rule 38, 39)

- Is there any part of machine or any machine dangerous?

- Dangerous fumes (Rule 41)

- Is there any engineering system to protected against fumes?

- Do they use safety devise?

- Explosive or inflammable dust, gas etc. (Rule 42)

- Is there any engineering system to protected against dust etc?

- Do they use safety devise?

- Notice of certain accidents (Rule 88)

- Have injuries been recorded in the form no. 28?

- Have reports of accidents been reported in a timely manner?

- Is the record kept regularly?

- Extra-allowance for overtime (Rule 58)

The Workers Compensation Act. 1923

- Have the name of workers been recorded in form no. a (1)?

- Has the yearly return been submitted?

- Other (detail)